## Slide 1: In-House Intern

## Slide 2: Stand alone and Grid connected Solar PV system And Control by Artificial Neural Network (ANN)
Ishan Budhiraja
2k18/ee/087
Gibson Muyembe
2k18/EE/069

## Slide 3: Project analysis slide 2
Table of Contents
1 | Photovoltaic System
2 | Components
3 | Stand Alone PV system
4 | Grid Connected PV system
5 | MATLAB Implementation of Neural Network Based MPPT for Solar PV System
6 | Maximum Power point Tracking
7 | PV Circuit
8 | Neural Network Structure
9 | Collection of Data

## Slide 4: Project analysis slide 2
Photovoltaic System
A photovoltaic (PV) system is composed of one or more solar panels combined with an inverter and other electrical and mechanical hardware that use energy from the Sun to generate electricity.
PV systems can vary greatly in size from small rooftop or portable systems to massive utility-scale generation plants.

## Slide 5: Project analysis slide 2
System Components of a PV system
Electric meters
Circuit breakers
Wiring
Solar Panels
Inverters
Racking

## Slide 6: Project analysis slide 2
Stand Alone PV system
Stand-alone systems are not connected with utility power lines and these are self sufficient systems.
These systems could either be used to charge the batteries that serve as an energy storage device or could work directly using the solar energy available in the daytimes.

## Slide 7: Project analysis slide 4
Grid Connected PV system
A grid connected photovoltaic system will be interacted with utility grid.
The main advantage of this system is that power can be drawn from the utility grid and when power is not available from grid, PV system can supplement that power

## Slide 8: Project analysis slide 4
Artificial Neural Network
"Artificial neural network" refers to a biologically inspired sub-field of artificial intelligence modeled after the brain
Similar to a human brain has neurons interconnected to each other, artificial neural networks also have neurons that are linked to each other in various layers of the networks

## Slide 9: Project analysis slide 4
Maximum Power point Tracking
Maximum power point tracking is used commonly with wind turbines and photovoltaic (PV) solar systems to maximize power extraction under all conditions.
It is the purpose of the MPPT system to sample the output of the PV cells and apply the proper resistance (load) to obtain maximum power for any given environmental conditions.

## Slide 10: MPPT Algorithms

## Slide 11: Project analysis slide 4
Matlab Implementation

## Slide 12: Project analysis slide 4
Perturbation and Observation (P&O)

## Slide 13: Project analysis slide 4
Code used

## Slide 14: Project analysis slide 4
Results

## Slide 15: Project analysis slide 4
Incremental Conductance (IncCond)

## Slide 16: Project analysis slide 4
Code used

## Slide 17: Project analysis slide 4
Results

## Slide 18: MATLAB Implementation of Neural Network Based MPPT for Solar PV System

## Slide 19: Project analysis slide 4
PV Circuit
The Neural Network will Receive 2 inputs
Temperature
Irradiance
And based on this the network will provide maximum voltage for maximum power point

## Slide 20: Project analysis slide 4
Neural Network Structure
A three-layer neural network is used to reach MPP
Temperature T and irradiance G are two input variables and voltage of MPP Vmpp is the output variable of ANN.
It is necessary to obtain some data as input and output variable to train the neural network
After training the ANN and specification of neuron weights, for any T and G as inputs of ANN, output of ANN is the Vmpp. Now, current of maximum power point Impp can be obtained by using V-I characteristic of the modeled PV. Consequently, maximum power Pmax is reached by multiplying Vmpp and Impp.

## Slide 21: Project analysis slide 4
Collection of Data

## Slide 22: Project analysis slide 4
Collection of Data

## Slide 23: Project analysis slide 4
Training of Neural Network
1. nnstart

## Slide 24: Project analysis slide 4
Training of Neural Network

## Slide 25: Project analysis slide 4
Training of Neural Network

## Slide 26: Project analysis slide 4
Training of Neural Network

## Slide 27: Project analysis slide 4
Training of Neural Network

## Slide 28: Project analysis slide 4
Training of Neural Network

## Slide 29: Project analysis slide 4
Matlab Implementation

## Slide 30: Project analysis slide 4
Results